## Slide 1: Control Valves
Instrumentation and Process Control – ChE-323
Lec-13

## Slide 2: Final Control Element
Final control elements can be different for different applications
  Variable Speed Pumps
  Power Controller
  Pneumatic control valve – Most Common
    Regulates flow of fluid

## Slide 3: Control Valve Construction

## Slide 4: Valve Sizing

## Slide 5: Valve Characteristics
The relation between the flow through the valve and the valve stem position (or lift) is called the valve characteristic.

## Slide 6: Valve Positioner
The friction in the packing and guiding surfaces of a control valve often causes a control valve to exhibit hysteresis
Positioner acts as a high gain proportional controller